## Sheet1
Annexure-2
Bill of Quantities
S. No. | Description | UOM | Quantity | Unit Rate | Amount
A | NR relays,NR Relay cards, SID relays, SID relay cards
a | MOTOR MANAGEMENT RELAY Model:- RCS 9626 CN. Suspected Faulty Cards :-ODI Module ( AO Card) | Nos | 2
b | MOTOR MANAGEMENT RELAY ,Model:- RCS 9627 CN. Suspected Faulty Cards:- DC Module communication card and HMI Module card & ODI Module ( AO Card) | Nos | 3
c | TRANSFORMER MANAGEMENT RELAY,Model:- RCS 9624 CN. Suspected Faulty Cards:- DC Module communication card , CPU Module & ODI Module ( AO Card) | Nos | 3
d | Feeder MANAGEMENT RELAY,Model:- RCS 9625 CN. Suspected Faulty Cards:- DC Module communication card , CPU Module & ODI Module ( AO Card) | Nos | 2
e | Change Over Relay, Type-SID-409 Reserve Supply Auto Transfer Device ( Type B), Specification-409 B/100 V-1-N-220 V DC, Make-Shenzhen Guoli Zhineng Electric Power Technology Co. ltd | Nos | 1
f | CPU JK4, Card No-2698-M49135 (EP Techloligi) Model SID-409B, Scheme- 07/08/03 | Nos | 6
B | MOV Cards
a | Control Card- Make ROTORK IQ | Nos | 20
b | Positioner card - Make ROTORK | Nos | 1
c | Power Card- Make ROTORK IQ | Nos | 7
d | Local Remote Control card- Make ROTORK | Nos | 2
e | Folomatic Card- Make ROTORK | Nos | 5
f | Power Card- Make Flowserve limitorque | Nos | 3
g | Control card- Make Flowserve limitorque | Nos | 12
h | Encoder card- digital O/P card- Make Flowserve limitorque | Nos | 20
i | Power Card with transformer - Make Shangai | Nos | 1
k | Interface CARD- Make AUMA | Nos | 10
l | Logic card - Make AUMA | Nos | 4
Total Basic |  |  |  |  | 0
GST @ 18% |  |  |  |  | 0
Total Value With GST |  |  |  |  | 0