## Sheet1
Annexure-2
BOQ for Testing of 400 kV Circuit Breakers
S. No. | Description | Quantity | UOM | Unit Rate | Amount
A | Testing of 400 kV Single Pole Circuit Breaker, make ABB China Type: HPL420B2WC, Ref. Standard: IEC 62271-100 Rated Voltage: 420 kV, Rated Freq.: 50 Hz, Rated Normal C/n: 4000 A, Type of Breaker: Live Tank Circuit Breaker Rated Short Circuit Breaking Current: 63 kA - 3 sec. i. Main Circuit Dielectric Test ii. Main Circuit Contact Resistance Test iii. Tightness Test / Leakage Checking iv. OC Timing Test v. Coil Resistance Test vi. DCRM Test vii. Travel Test viii. Pole Discrepancy | 42 | Nos.
B | Per visit charges (considering maximum of 3 to cover all the breakers) | 3 | Nos.
Total Basic |  |  |  |  | 0
GST @ 18% |  |  |  |  | 0
Total Value With GST |  |  |  |  | 0