## Sheet1
Annexure-2 (Unit # 2 &Unit # 4 )
BOQ For Inspection, Rectification & Reconditioning Work of High & Low Pressure Valves Unit # 2 & Unit # 4
S. No. | Description | UOM | Unit wise Quantity |  | Total Qty | Unit Rate | Amount
|  |  | U#4 | U#2
1 | FEED WATER BFP DISCHARGE GATE VALVE DN275,P=32MPa, Temp-180°C KSB | Nos | 3 | 2 | 5
2 | FEED WATER BFP DISCHARGE NRV DN275,P=32MPa, Temp-180°C KSB | Nos | 3 | 2 | 5
3 | HEATER BYPASS THREE WAY VALVE DN425,P=24.6MPaTemp-180°C to 280 °C TYCO RAYSTEAM | Nos | 0 | 1 | 1
4 | FWR MANUAL ISOLATION GATE VALVE DN175,PN=32MPa, Temp-180°C KSB | Nos | 6 | 4 | 10
5 | FWR PNEUMATIC CONTROL VALVE DN175,PN=32MPa, Temp-180°C Copes Vulcan | Nos | 3 | 2 | 5
6 | D/A TO BOOSTER PUMP (LP FEED WATER) MOTOR GATE VALVE DN500,PN=2.5, Temp-180°C | Nos | 3 | 2 | 5
7 | FROM CRH TO AUX HDR CONTROL VALVE FROM CRH TO AUX HDR PNEUMATIC CONTROL VALVE PN 6.3 DN200,Temp-335°C FLOW SERVE | Nos | 1 | 1 | 2
8 | TURBINE VENT VALVEVENT VALVEPN 6.3 DN175,Temp-354°C DEC | Nos | 1 | 1 | 2
9 | TURBINE EMERGENCY BLOW DOWN VALVE EMERGENCY BLOWDOWN VALVE DN 100, PN10 Mpa, Temp-, Temp-470° DEC | Nos | 1 | 1 | 2
10 | IP TO LP AUX HEADER CONTROL VALVE SIZE 12" TEMP 250 °C FLOW SERVE | Nos | 2 | 2 | 4
11 | PEGGING LINE VALVES AUX HDR TO D/A PEGGING LINE MOV PN2.5 DN350A TEMP 357.9 °C | Nos | 1 | 1 | 2
12 | PEGGING LINE VALVES AUX HDR TO D/A PEGGING LINE NON-RETURN VALVE PN2.5 DN350A TEMP 357.9 °C | Nos | 1 | 1 | 2
13 | PEGGING LINE VALVES AUX HDR TO D/A PEGGING LINE NON-RETURN VALVE PN2.5 DN150A TEMP 357.9 °C | Nos | 1 | 1 | 2
14 | PEGGING LINE VALVES AUX HDR TO D/A PEGGING LINE CONTROL VALVE PN2.5 DN350A TEMP 357.9 °C | Nos | 1 | 1 | 2
15 | CONDENSATE SYSTEM D/A LEVEL CTRL STN 100% CV PN6.4 DN250 TEMP 47.3 °C FLOW SERVE | Nos | 1 | 1 | 2
16 | CONDENSATE SYSTEM D/A LEVEL CONTROL STN 30% CONTROL VALVE PN6.4 DN200 TEMP 47.3 °C FLOW SERVE | Nos | 1 | 1 | 2
17 | CONDENSATE SYSTEM CEP RECIRCULATION CONTROL VALVE PN6.4 DN250 TEMP 46.7 °C FLOW SERVE | Nos | 1 | 1 | 2
18 | CONDENSATE SYSTEM MOTOR BUTTERFLY SUCTION VALVE PN1.0 DN900 TEMP 46.7 °C | Nos | 2 | 2 | 4
19 | OCCW OCCW DISCHARGE NRV DN800,PN1.6, TEMP 46.7 °C | Nos | 2 | 0 | 2
|  |  | 34 | 27 | 61
Total Basic
GST @ 18%
Total Value With GST